Specification sheet for switches

| Customer Nomination |  |
| --- | --- |

| Type of switch |  |  |  |  |
| --- | --- | --- | --- | --- |
| Drive system | Hand | Snap action mechanism | Motor | Snap action mechanism |
| Switch levels Main contacts |  |  |  |  |
| Switch levels Auxiliary contacts |  |  |  |  |

| Rated voltage Ue |  |
| --- | --- |
| Rated surge voltage resistance Uimp |  |
| Rated operation current Ie |  |
| Rated short time resistance Icw |  |
| Rated short-circuit current Ik |  |
| Rated short circuit making capacity Icm |  |
| Rated frequency f |  |
| Auxiliary voltage UM Motor or control voltage or auxiliary contact voltage |  |
| Switch cycles |  |
| IP Protection class |  |
| Usage category |  |

| Required standards Trackside or rolling stock |  |
| --- | --- |

| Tests to be executed Temperature test Temperature-rise test Dielectric test Short-circuit test Shock and vibration test Life test Ice test Dry / moist warmness Dry / moist coldness |  |
| --- | --- |

| Specifics / Notes Assemble in measurements Connection measurements Type of connections and leavings |  |
| --- | --- |

| Circuit diagram |  |
| --- | --- |